Title: 1_Estimating blood pressure using video-based PPG and deep learning (2025)

Journal: Image and Vision Computing

### 1) How do they preprocess the video?

ROI / face handling

- They detect and track the face ROI using MediaPipe Face Mesh landmarks to keep the ROI stable across frames and reduce the inclusion of background pixels. (They explicitly compare MediaPipe vs Haar Cascade and show MediaPipe performs better.) (Phase 1, p.3–4)

- They evaluated Haar Cascade ROI vs MediaPipe ROI, and concluded MediaPipe is consistently better because Haar sometimes includes non-face/background regions → more artifacts. (Table 1, p.4)

Frame preparation/normalization

- For rPPG model training/eval, they use:

  - Frame size: 72×72

  - Chunk length: 180 frames (most models), and 128 for PhysNet

  - 30 fps videos in their benchmark datasets; they also downsampled VICAR to 30 fps later (Phase 2). (p.4–5)

- They say “prior to model input, all data underwent normalization” (they don’t specify per-channel vs per-video, but normalization is definitely used). (p.4)

Augmentation (important)

- Two augmentations were used (to increase robustness and dataset size):

  - Motion transfer (neural motion transfer to synthetically add facial movement)

  - Horizontal flipping using FFmpeg (mirror frames). (p.3)

Acquisition setup (their own dataset)

- Pixel 6 camera, 30 fps, 1920×1080, distance 50–70 cm, ~1 minute per session, “static setting” to reduce motion and keep sync with BP measurement. (p.6)

What you can reuse directly: MediaPipe Face Mesh tracking + ROI cropping is very aligned with your smartphone + face ROI approach.

### 2) How do they extract the PPG signal from the face?

They use a deep rPPG extraction model:

- MTTS-CAN (Multi-Task Temporal Shift Attention Network) for rPPG extraction. (p.3)
Key components they mention:

  - Dual-branch: appearance branch (2D conv spatial features) + motion branch with Temporal Shift Module (TSM) (efficient temporal modeling without 3D conv)

  - Attention mechanism to emphasize skin pixels

  - Multi-task learning (joint estimation of heart rate + respiration rate) to improve representation quality

They also benchmark against DeepPhys / EfficientPhys / PhysNet, but choose MediaPipe + MTTS-CAN as best in their setup. (Table 1, p.4)

ROI detail note: They describe “face ROI via MediaPipe mesh”, not explicitly “forehead + cheeks” in this paper. But the method is compatible with selecting those sub-regions using landmarks.

### 3) What preprocessing/post-processing do they do on the signals?

This paper’s key idea is: rPPG → denoise/translate → PPG-like waveform, then feed that into BP models.

Signal segmentation

- They split signals into segments of length 1080 samples (chosen as the shortest length in UBFC-RPPG1 contact PPG). (p.5)

Signal normalization

- rPPG and PPG sub-signals were normalized to [0, 1] before training the denoiser. (p.5)

Denoising / “PPG-like” translation

- They train a custom denoising autoencoder on paired (rPPG, PPG) to map noisy rPPG → clean PPG-like.

- Encoder/decoder with sigmoid activations; input length 1080; they report the best model as one hidden layer (512 neurons) after hyperparameter search. (p.3, p.5)

- Training:

  - Optimizer: Adam

  - Loss: Negative Pearson (NegPearson)

  - Tuned LR/BS/epochs with Hyperopt; best custom AE: LR 0.00088, 550 epochs (reported). (p.5)

Practical takeaway: Instead of only bandpass filtering, they do a learned denoising translation to make rPPG “look like” contact PPG.

### 4) What model do they use to predict the target (BP here)?

For BP estimation, they use a hybrid CNN + BiLSTM + MLP model (their chosen best overall):

- Start with a convolutional layer (ReLU) to reduce dimensionality and extract local features.

- Then 3 bidirectional LSTM layers: 128, 128, 64 units

- Then fully connected layers: 512 → 256 → 128 (ReLU)

- Two outputs: SBP and DBP (two neurons). (p.3)

They compare against AlexNet-based, ResNet, and a spectro-temporal network (Slapničar style). LSTM has the best overall balance; ResNet has the best DBP MAE in their table. (p.6–7)

### rPPG → PPG denoising datasets

Used to train the denoising autoencoder.

#### VICAR dataset

- Subjects: 10

- Video duration: ~5 minutes per subject

- Frame rate: 60 fps (downsampled to 30 fps)

- Resolution: 1280 × 720

- Scenarios: Baseline, Movement, Stress, Post-workout

- Ground truth: ECG (Arduino-based, 250 Hz)

#### UBFC-rPPG 1 dataset

- Videos: 8

- Frames: ~16,500 total

- Scenario: Mostly static, slight motion

- Ground truth: Contact PPG

After segmentation:

- Signal length: 1080 samples

- Total sub-signals: 93 segments

### Their own collected dataset (KEY RESULT)

- Subjects: 25

- Gender: 16 male, 9 female

- Age range: 21–53

- Health: No known cardiovascular disease

- Camera: Google Pixel 6 (smartphone!)

- Frame rate: 30 fps

- Resolution: 1920 × 1080

- Distance: 50–70 cm

- Recording time: ~1 minute per subject

- Environment: Static, controlled lighting

- Ground truth BP: Automatic cuff-based sphygmomanometer

- Synchronization: Simultaneous video + BP measurement

This dataset is conceptually VERY close to your setup, except:

- They predict BP, you predict blood glucose

- They used 1 min, you use 30 sec

- Their sample size is much smaller than yours (25 vs 512)

## Final accuracy/performance (what they achieved), reported on their own 25-subject dataset.

### Best-performing model: Conv + BiLSTM

| Target | MAE (mmHg) | Std Dev (mmHg) |
| --- | --- | --- |
| Systolic BP (SBP) | 9.2 | ±11.3 |
| Diastolic BP (DBP) | 8.6 | ±9.1 |

Title and journal: 2_Physiological navigation amplifier for remote extracting PPG signals from face video clips (Neurocomputing, 2025)

## Dataset details: This paper does not collect a new private dataset. All experiments are conducted on three well-known public rPPG datasets.

OBF (Oulu Bio-Face) dataset: This is the largest dataset used in this paper.

- Subjects: 100

- Videos: 200

- Scenarios:

  - Resting

  - Post-exercise

- Video length: 5 minutes each

- Frame rate: 60 FPS (downsampled to 30 FPS for fairness)

- Resolution: 1920 × 1080

- Ground truth:

  - Contact BVP

  - Heart Rate (HR)

- BVP sampling rate: 256 Hz

COHFACE dataset: This dataset is considered noise-heavy and is used to test robustness.

- Subjects: 40

- Videos: 160

- Scenarios:

  - Studio lighting

  - Natural lighting (challenging illumination)

- Video length: 1 minute

- Frame rate: 20 FPS

- Resolution: 640 × 480

- Ground truth:

  - Contact BVP (256 Hz)

  - Breathing rate (32 Hz)

UBFC-rPPG dataset: Used for both intra-dataset and cross-dataset validation.

- Subjects/videos: 42

- Scenario: Resting, indoor

- Video length: 1 minute

- Frame rate: 30 FPS

- Resolution: 640 × 480

- Ground truth:

  - Contact BVP

  - Heart Rate (30 Hz)

### Video segmentation strategy (important for your 30s videos)

- First 5 seconds removed (subject not stable yet)

- From the remaining video:

  - 4 random non-overlapping clips

  - Each clip = 6 seconds

- Final frame size: 128 × 128

- Chosen optimal video length: 6 seconds (based on ablation study)

This is extremely relevant: they show diminishing returns beyond 6 seconds.

## What task do they solve?

- Primary task:

  - rPPG signal reconstruction

- Derived tasks:

  - Heart Rate (HR)

  - Heart Rate Variability (HRV: LF, HF, LF/HF)

## Final accuracy/performance: Best results — Heart Rate estimation

#### OBF dataset (controlled, high quality):

| Metric | Value |
| --- | --- |
| MAE | 0.57 bpm |
| RMSE | 0.49 bpm |
| Pearson r | 0.999 |

COHFACE dataset (challenging lighting): Shows strong robustness under illumination changes.

| Metric | Value |
| --- | --- |
| MAE | 1.65 bpm |
| RMSE | 4.29 bpm |
| Pearson r | 0.93 |

#### UBFC dataset:

| Metric | Value |
| --- | --- |
| MAE | 0.59 bpm |
| RMSE | 1.03 bpm |
| Pearson r | 0.99 |

Cross-dataset validation: This demonstrates strong generalization, which many rPPG papers fail at.

- Train: OBF

- Test: UBFC

| Metric | Value |
| --- | --- |
| MAE | 0.97 bpm |
| RMSE | 1.47 bpm |
| Pearson r | 0.98 |

### What you can directly reuse

- Noise modeling philosophy (differential noise per subject)

- Short video handling (6s → excellent performance)

- Spatiotemporal disentanglement (rPPG vs noise)

- Learned signal rectification instead of simple filtering

Title and journals: 3_A Novel Deep Learning Approach for Non-invasive Blood Glucose Measurement from Photoplethysmography Signals (Lecture Notes in Electrical Engineering, Springer-2023)

## Dataset details: This paper uses a single dataset (no video, no rPPG — contact PPG only). Dataset source:

- Referenced as Salamea et al., 2019 database

- Publicly proposed for glucose–PPG correlation

### Acquisition hardware:

- PPG sensor: Empatica E4 wristband (contact PPG)

- Blood glucose reference:

  - Cobas-6000 laboratory analyzer (used as ground truth)

  - Accu-Chek glucometer (secondary)

### Dataset size:

- Patients: 217

- Signals: One long PPG recording per patient

- Sampling rate: Not explicitly stated (but E4 PPG = 64 Hz typically)

- Recording condition: Static (wrist-worn)

### Train / test split:

- Within-subject split, not subject-wise:

  - Training samples: indices 500–4500

  - Testing samples: indices 5000–9000

- Both splits come from the same patient and same recording session

This is a MAJOR limitation (data leakage risk). The model is effectively memorizing patient-specific morphology.

## What task do they solve?

- Regression task:

  - Predict blood glucose level (mg/dL) from PPG

- No classification

- No time-series forecasting

- No calibration phase described

## Final accuracy / performance: Best model: 1D CNN (25 layers)

#### Clarke Error Grid (CEG)

| Region | Percentage (CNN) | Clinical meaning |
| --- | --- | --- |
| A | 84.21% | Clinically accurate |
| B | 14.20% | Acceptable |
| C | 0% | Unnecessary treatment |
| D | 1.57% | Potentially dangerous |
| E | 0% | Dangerous |

Total clinically acceptable (A + B): 98.41%

Bland–Altman statistics:

| Metric | CNN |
| --- | --- |
| Mean difference | −0.25 mg/dL |
| Std of error | 15.67 mg/dL |

#### Baseline comparison (Random Forest):

| Model | Region-A (%) | Std error |
| --- | --- | --- |
| RF | 83.16% | 15.83 |
| CNN | 84.21% | 15.67 |

## Why this paper is IMPORTANT but DANGEROUS to cite blindly

- Large dataset (217 subjects)

- Lab-grade glucose reference

- Deep learning applied to glucose estimation

- Clinically relevant metrics (CEG + BA)

### Critical limitations:

- Contact PPG only (no camera, no rPPG)

- Within-subject train/test split

  - Inflates performance

  - Not generalizable

- No cross-subject validation

- Static wrist condition

- No temporal glucose dynamics

Title and journal: 4_Non-contact estimation of blood glucose using facial videos and deep learning
(International Journal of Advances in Engineering, 2024)

## Dataset size:

- Subjects: 30

- Gender: Not clearly specified

- Health condition: Mix of normal and diabetic subjects

- Total video samples: 30 (one per subject)

### Video acquisition:

- Camera: Smartphone camera

- Frame rate: 30 fps

- Resolution: Not explicitly stated

- Video duration: 30 seconds

- Distance: Fixed frontal position

- Environment: Indoor, controlled lighting

- Motion: Subjects asked to remain still

### Ground truth glucose measurement:

- Method: Finger-prick glucometer

- Timing: Immediately before or after video capture

- Units: mg/dL

### ROI selection:

- Entire face ROI detected using:

  - Haar Cascade face detector

- No explicit separation of forehead vs cheeks

- ROI is resized before model input

This is weaker than your planned MediaPipe + multi-ROI approach.

## What task do they solve?

- Regression task:

  - Predict blood glucose value (mg/dL) from facial video

- End-to-end video → CNN → glucose

- No explicit rPPG waveform extraction step

This paper implicitly learns rPPG-like features, but does not model physiology explicitly.

### Model type:

- 3D Convolutional Neural Network (3D-CNN)

  - Learns spatiotemporal features directly from video

  - No handcrafted signal extraction

- Input: 30-second video clip

- Output: single glucose value

This is an end-to-end black-box approach.

## Final accuracy/performance:

### Regression metrics:

| Metric | Value |
| --- | --- |
| Mean Absolute Error (MAE) | ±12.7 mg/dL |
| Root Mean Square Error (RMSE) | ±15.4 mg/dL |
| R² score | 0.87 |

### Clarke Error Grid (clinical relevance):

| Region | Percentage |
| --- | --- |
| A | 81% |
| B | 16% |
| C–E | 3% |

A + B = 97% clinically acceptable.

### Limitations you SHOULD explicitly state

- Very small dataset (30 subjects)

- No subject-wise cross-validation protocol is described clearly

- No explicit rPPG extraction

- Black-box 3D-CNN → no physiological interpretability

- Single ROI (entire face)

## Title and journal: 5_A non-contact blood pressure measurement method based on face video (Physical and Engineering Sciences in Medicine, 2025)

## Dataset size and composition: This paper uses a hybrid dataset: one public clinical dataset + one self-built facial video dataset.

### A) University of Queensland Vital Signs Dataset (UQVSD)

- Subjects / cases: 32 surgical cases

- Recording duration:

  - Minimum: 13 minutes

  - Maximum: 5 hours

  - Median: 105 minutes

- Signals available:

  - ECG

  - Contact PPG

  - Non-invasive arterial BP

- Usage in this paper:

  - Used to validate pulse-wave morphology concepts

  - Used to support feature extraction design, not direct video inference

No face video in this dataset. It is used as a physiological reference source.

### B) Self-built facial video + BP dataset: This is the dataset that produces the final reported accuracy.

- Participants: 15 human subjects

- Total samples: 8000 data pairs

  - Each pair = (facial video segment + BP measurement)

- Video acquisition:

  - Camera: RGB camera

  - Frame rate: 30 fps

  - Resolution: 1920 × 1080

  - Distance: 50 ± 10 cm

  - Environment: Indoor, natural lighting

- Recording duration per acquisition:

  - ~40 seconds

- Stabilization:

  - Subjects sat still for ≥1 minute before recording

- Ground truth BP:

  - Omron cuff sphygmomanometer

  - SBP and DBP were recorded simultaneously with the video

- Label assumption:

  - BP assumed a stable state during the 40-second acquisition window

- Ethics:

  - Approved, written informed consent obtained

Important clarification: Although only 15 subjects participated, the authors generated 8000 samples by repeated segmenting, meaning the dataset is sample-rich but subject-poor.

### Train/test split:

- 75% training

- 25% testing

- Split is sample-wise, not subject-wise

This is a major limitation regarding generalization.

What task do they solve?

- Regression task

  - Predict Systolic BP (SBP) and Diastolic BP (DBP)

- Input:

  - rPPG-derived pulse wave morphology features

- Output:

  - Continuous BP values (mmHg)

## Final accuracy/performance: Best-performing model: XGBoost regressor

#### Mean Absolute Error (MAE ± STD):

| Target | MAE (mmHg) | Std (mmHg) |
| --- | --- | --- |
| SBP | 4.8893 | ±6.6237 |
| DBP | 4.0805 | ±5.5821 |

### Comparison with other models:

| Model | SBP MAE | DBP MAE |
| --- | --- | --- |
| Linear Regression | 9.46 | 7.42 |
| SVM Regression | 7.43 | 5.75 |
| XGBoost | 4.89 | 4.08 |

XGBoost clearly outperforms classical baselines.

Clinical standards evaluation:

#### AAMI standard

- Requirement:

  - Mean error < 5 mmHg

  - Std < 8 mmHg

- Result: Fully compliant for SBP and DBP

#### BHS standard

- Grade A achieved for both SBP and DBP

| Error bound | SBP (%) | DBP (%) | BHS Grade A requirement |
| --- | --- | --- | --- |
| ≤5 mmHg | 63.38 | 68.88 | ≥60 |
| ≤10 mmHg | 88.34 | 89.67 | ≥85 |
| ≤15 mmHg | 96.89 | 97.94 | ≥95 |

## Title and journal: 6_Digital Volume Pulse Analysis to Differentiate Diabetic from Non-Diabetic Subjects (Communications in Mathematics and Applications, Vol. 10(4), 2019)

## Dataset size and composition:

- Total subjects: 153

- Healthy (non-diabetic): 115

- Type II diabetic patients: 48

### Demographics:

- Healthy group:

  - Mean age: 29.1 ± 8.5 years

- Diabetic group:

  - Mean age: 62.1 ± 6.8 years

- Nationality: All Saudi

- Exclusion criteria:

  - No hypertension

  - No arrhythmia

This dataset has a strong age imbalance, which is important to acknowledge.

## Data acquisition details: PPG signal

- Type: Contact PPG (finger-based)

- Measurement site: Left index finger

- Sensor: Custom-built PPG system (NI cDAQ-9172)

- Sampling frequency: 500 Hz

- Recording duration: 1 minute

- Repetitions: Recorded twice, best-quality signal selected

### Experimental conditions:

- Supine position

- Quiet room

- Temperature controlled: 25 ± 1 °C

- Rest period before recording: 5 minutes

### Ground truth (diabetes reference):

- HbA1C (%)

- Measured after 6 hours fasting

- Method: Enzymatic assay (Diazyme)

- Diagnostic threshold:

  - Diabetes defined as HbA1C > 6.5%

This is long-term glucose control, not instantaneous glucose.

## Preprocessing and features:

- Detrending to remove baseline drift

- Motion artifact removal

- Band-pass filtering: 0.6 – 15 Hz

- Extraction of PPG morphological indices, not ML features:

  - Diastolic pulse peak (Dpp)

  - b/a index (from second derivative of PPG)

- Statistical modeling (no deep learning)

Two related tasks:

### A) Regression

- Predict HbA1C (%) using:

  - Age

  - b/a index

  - Dpp index

### B) Classification

- Differentiate diabetic vs non-diabetic subjects

## Final accuracy / performance:

### A) Regression performance (HbA1C prediction)

- Multiple linear regression

- R²=0.719 → 71.9% of the variance in HbA1C explained by (Age + b/a + Dpp)

| Predictor | Significance |
| --- | --- |
| Age | Strongest contributor |
| Dpp | Statistically significant (p = 0.011) |
| b/a | Correlated, but not significant in final model |

### B) Classification performance (Diabetes screening): Using Dpp index only:

| Metric | Value |
| --- | --- |
| AUC (ROC) | 85.7% |
| Sensitivity | 76.9% |
| Specificity | 83.3% |
| Dpp cutoff | 0.6 |

This is screening-level performance, not diagnostic-grade.

## Title and journal: 7_Noninvasive Heart Rate and Blood Glucose Level Estimation Using Photoplethysmography (Conference: ICICT4SD 2021 (IEEE))

## Dataset Details:

### Number of subjects:

- 20 human subjects total

  - Detailed numerical tables are shown only for 5 subjects

  - Correlation plots use all 20 subjects

### Population details:

- No demographic breakdown reported (age, sex, BMI not specified)

- Subjects measured at steady state (resting)

### Signal acquisition:

- Contact PPG (NOT camera-based, NOT rPPG)

- Measurement site: Fingertip

- Sensor: Commercial pulse sensor (LED + photodiode)

- Sampling rate: 40 Hz

- Recording duration: 20 seconds per subject

### Ground truth:

- Blood glucose: Accu-Chek invasive glucometer

- Heart rate: ECG device

Important for your PhD: This paper does NOT use facial video or rPPG — it is contact PPG, so it is methodologically weaker than your smartphone-face setup.

## Prediction Task:

| Task | Type |
| --- | --- |
| Heart Rate | Peak counting (deterministic) |
| Blood Glucose | Regression (feature-based) |

## Features Used for Blood Glucose: Only ONE scalar feature:

Amplitude difference = max(PPG) − min(PPG)

They tested correlations with:

- max value

- min value

- standard deviation

- difference (BEST)

Highest correlation:

- r = 0.8898 (difference feature)

## Model Used: No machine learning

They use:

- Polynomial regression

  - Linear: R² = 0.8898

  - Quadratic: R² = 0.9507 (chosen)

Equation: BGL=0.0002347x2+0.01869x+3.306

No training/testing split, No cross-validation, No subject-independent evaluation

## Accuracy/Performance: Blood Glucose Accuracy

- Error metric: Percentage error

- Maximum reported error: < 3%

- Typical error range: 0.8% – 2.1%

This is optimistic and not clinically reliable due to:

- tiny dataset

- no independent test set

- curve fitting on the same data

### Heart Rate Accuracy:

- Compared to ECG

- Error: < 2.5%

## Scientific Strength Assessment:

| Aspect | Assessment |
| --- | --- |
| Dataset size | ❌ Very small (n=20) |
| Modality | ❌ Contact PPG (not rPPG) |
| Model | ❌ Simple regression |
| Validation | ❌ No proper ML validation |
| Clinical relevance | ⚠️ Limited |
| Usefulness for your PhD | ⚠️ Conceptual only |

### What you can reuse

- The idea that PPG amplitude dynamics correlate with glucose

- Feature-level intuition (AC/DC information matters)

### What you must improve

- Use rPPG from the face (forehead + cheeks) instead of the fingertip

- Replace scalar features with:

  - waveform-level modeling

  - frequency & morphology features

  - deep learning

- Use subject-wise cross-validation

- Use MAE / RMSE / Clarke or Parkes Error Grid

Title and journal: 8_Machine learning algorithms for Diabetes prediction and neural network method for blood glucose measurement (Indian Journal of Science and Technology, 14(10), 2021)

## Dataset details (there are TWO completely different datasets):

## A) Dataset 1 — Diabetes classification (clinical tabular data)

### Source: PIMA Indian Diabetes Dataset (public)

### Dataset size:

- 768 samples

- 8 input features + 1 label

- Subjects: Female, ≥21 years old, PIMA Indian heritage

### Features:

- Pregnancies

- Plasma glucose (OGTT)

- Diastolic blood pressure

- Skinfold thickness

- Insulin

- BMI

- Diabetes pedigree function

- Age

### Task: Binary classification: Diabetic / Non-diabetic

## B) Dataset 2 — In-vivo PPG dataset (THIS is relevant to glucose)

### Source: Self-collected in-vivo dataset

### Dataset size:

- 182 individuals

- Mixed population:

  - Diabetic

  - Non-diabetic

  - Various blood pressure conditions

### Age range:

- 30–85 years

### Signal acquisition

- Modality: Contact PPG (finger sensor, NIR-based)

- Sampling rate: Not explicitly stated

- Recording duration: 1 minute per subject

- Environment: Pathology laboratory (controlled)

### Ground truth glucose

- Invasive blood glucose measurement

- Measured using standard clinical methods

Important: This is NOT camera-based rPPG. It is contact PPG, but physiologically relevant.

## What tasks do they solve?

| Task | Dataset | Type |
| --- | --- | --- |
| Diabetes prediction | Dataset 1 | Classification |
| Blood glucose estimation | Dataset 2 | Regression |

## Final accuracy/performance:

### A) Diabetes classification performance (Dataset 1): Best model: Decision Tree

| Metric | Value |
| --- | --- |
| Accuracy | 89.97% |
| Sensitivity | 91.07% |
| Specificity | 87.75% |

This is standard PIMA-level performance, comparable to other ML studies.

B) Diabetes classification (Dataset 2 – 82 subjects subset):

| Classifier | Accuracy |
| --- | --- |
| Decision Tree | 91.46% |
| SVM | 75.00% |
| Naïve Bayes | 72.73% |
| KNN | 71.87% |

### C) Blood glucose estimation performance (Dataset 2 – ALL 182 subjects)

#### Model

- Artificial Neural Network

- 3 hidden layers

- Best configuration: (20, 15, 10) neurons

#### Evaluation metric

- Clarke Error Grid Analysis (CEGA)

| Clarke Region | Percentage |
| --- | --- |
| Region A | 59.66% |
| Region B | 34.61% |
| Region C–E | Negligible |

Total clinically acceptable (A + B): 94.27%. No MAE or RMSE is reported — only CEGA.

### ✅ Strengths

- Large PPG-based glucose dataset (182 subjects)

- Uses pulse morphology + frequency features

- Clinical evaluation via Clarke Error Grid

- Shows the feasibility of PPG → glucose mapping

### ❌ Major limitations

- Contact PPG only (no rPPG, no video)

- No subject-wise validation is described

- No MAE / RMSE reported

- ANN architecture not rigorously optimized

- Age and BP confounding were not controlled

This paper gives you:

- Strong evidence that PPG morphology contains glucose information

- A feature taxonomy (time + frequency domain)

- Justification for Clarke Error Grid usage

You improve on it by:

- Using face video rPPG

- Scaling to 512 subjects

- Using subject-wise splits

- Reporting MAE + RMSE + CEGA

- Using deep temporal models

Title and journal: 9_Monitoring of heart rate, blood oxygen saturation, and blood pressure using a smartphone (Biomedical Signal Processing and Control, Vol. 59, 2020)

## Dataset size:

### A) HR & SpO₂ dataset

- Total subjects: 18

- Total recordings: 50

  - Training set: 30 recordings (from 8 subjects)

  - Testing set: 20 recordings (from 10 new subjects)

- Recording length: 15–20 seconds per recording

- Smartphones used:

  - Honor 7 Lite

  - iPhone SE

  - Lenovo Vibe S1

  - several others in the testing phase

- Sampling rate: 30 fps

- Measurement method:

  - Contact PPG (finger covering rear camera + LED)

The dataset is subject-separated for testing (good practice).

### B) Blood Pressure dataset

- Total subjects: 4

- Total recordings: 15

- Recording duration: ~20 seconds

- Smartphone used: Samsung Galaxy S7

- Signals recorded:

  - PPG (camera)

  - PCG (microphone)

- Reference BP: Mercury sphygmomanometer

This is a very small BP dataset.

### C) Overall dataset (combined)

- Total subjects: 22

- Total signals: 65

- Age range: 18–78 years

- Sex: 13 women, 9 men

## Dataset characteristics:

- Modality: Smartphone-based contact PPG

- ROI: Fingertip (not face)

- Environment: Controlled indoor

- Calibration:

  - Required for BP (subject-dependent)

  - Not required for HR / SpO₂

- Validation:

  - HR: ECG reference

  - SpO₂: Pulse oximeter

  - BP: Mercury sphygmomanometer

## Achieved accuracy/performance:

### Heart Rate (HR)

| Dataset | MAE |
| --- | --- |
| Training | 1.3 bpm |
| Testing | 1.4 bpm |
| Max error | 4 bpm |

### Blood Oxygen Saturation (SpO₂)

| Dataset | MAE |
| --- | --- |
| Training | 1.1% |
| Testing | 1.1% |
| Max error | 4% |

### Blood Pressure (BP)

| Metric | MAE |
| --- | --- |
| Systolic BP | 5.13 mmHg |
| Diastolic BP | 7.53 mmHg |

Additional statistics:

- Pearson correlation:

  - SBP: 0.896

  - DBP: 0.854

Even though it does not estimate glucose:

- It provides upper-bound accuracy benchmarks for smartphone PPG

- Shows what is achievable with short (15–20 s) recordings

- Demonstrates multi-sensor fusion (camera + microphone)

- Reinforces that BP is harder than HR/SpO₂

In your thesis, this paper is best cited as:

Validation of smartphone PPG signal quality, not glucose modeling.

Title and journal: 10_The effect of spectral photoplethysmography amplification and its application in a dynamic spectrum for effective noninvasive detection of blood components (Optics and Laser Technology, Vol. 133, 2021)

## Dataset Size & Characteristics:

- Total clinical volunteers: 231

- Used for modeling: 184

- Prediction (test) set: 36

- Calibration (train) set: 148

- Split ratio: ~6:1 (train: test)

### Ground truth:

- Blood component measured: Hemoglobin (Hgb)

- Reference device: Blood gas analyzer

- Blood drawn immediately after PPG acquisition (strong synchronization)

The paper mentions glucose as a target application, but experimental results are shown for hemoglobin, not glucose.

## Acquisition & Dataset Modality: This is NOT camera-based rPPG

- Measurement site: Fingertip

- Modality: Spectral PPG (VIS–NIR spectroscopy)

### Optical setup:

- Light source: Bromine tungsten lamp

- Wavelength range: 591.9 – 1043.8 nm

- Spectrometer:

  - Avantes AvaSpec-HS-102458TEC-USB2

  - Spectral range: 200–1160 nm

- Acquisition mode: Transmittance

- Environment: Controlled clinical lab

- Motion control: Subjects seated, steady

## Core Technical Contribution: This paper is about signal physics, not ML novelty.

### Dynamic Spectrum (DS) Spectroscopy

- Based on Modified Beer–Lambert Law (MBLL)

- Uses the log difference between systolic & diastolic absorbance: ΔODλ​ = log (Imax/Imin​)

- Purpose:

  - Suppress static tissue effects (skin, fat, muscle)

  - Isolate pulsatile arterial blood

### Spectral Amplification Strategy:

- The PPG spectrum is split into two halves:

  - Upper half

  - Lower half

- This amplifies weak spectral details

- ❌ But also induces noise due to signal weakening

This is a key physical insight: Signal amplification ≠ provides better SNR by default

### Adaptive Time-Varying Filter (ATVF):

- Custom-designed adaptive filter

- Built using B-spline approximation

- Cutoff frequency varies over time

- Designed specifically for:

  - Nonlinear

  - Low-amplitude

  - Non-stationary PPG signals

This is far more advanced than fixed band-pass filters used in rPPG.

## Model Details:

- Radial Basis Function (RBF) Neural Network

- Implemented in MATLAB (newrb)

- Chosen because:

  - Handles linear + nonlinear relationships

  - Faster and more stable than PLS for spectral data

### Training setup

- Input: DS spectral features

- Output: Hemoglobin concentration (g/L)

- Metrics reported:

  - Correlation coefficient (Rc, Rp)

  - RMSE (calibration & prediction)

## Achieved Accuracy:

### ❌ Conventional DS (after amplification)

| Metric | Value |
| --- | --- |
| Rp | 0.481 |
| RMSEp | 12.88 g/L |

### ✅ Proposed ATVF + Upper/Lower DS

| Metric | Value |
| --- | --- |
| Rp | 0.914 |
| RMSEp | 8.95 g/L |

📈 Improvement:

- +47% increase in correlation

- −44% reduction in RMSE

## Technical Strengths:

- Demonstrates physics-aware signal decomposition

- Explicitly analyzes signal amplification vs noise tradeoff

- Introduces adaptive filtering, not static band-pass

- Large clinical dataset (184 subjects)

- Blood-based ground truth (not proxy labels)

Limitations:

❌ Not face video
❌ Not rPPG
❌ Not glucose (hemoglobin instead)
❌ Bulky lab-grade equipment
❌ Not real-time / smartphone-ready

## How THIS paper feeds directly into YOUR PhD: This paper gives you theoretical ammunition to justify:

- Why are weak physiological signals (like glucose-related changes) hard

- Why naive amplification or deep learning alone is insufficient

- Why adaptive, signal-aware preprocessing is essential before ML

💡 You can translate the idea, not the hardware:

- Replace spectral PPG → facial rPPG

- Replace wavelength DS → temporal / frequency DS

- Replace ATVF → adaptive temporal filtering or attention models

Title and journals: 11_A Dual-Branch Spatio-Temporal Feature Differencing Method for Robust rPPG Estimation (Mathematics, 2025, 13, 3830)

## Dataset size & characteristics (they use 2 datasets)

### Dataset A: UBFC-rPPG (controlled indoor)

- Subjects: 42 (30 male, 12 female)

- Video: RGB face videos + synchronized BVP

- Resolution: 640×480

- Frame rate: 30 fps

- Environment: Indoor, low-noise studio lighting

### Dataset B: MR-NIRP (in-vehicle, real-world)

- Subjects: 19 (17 male, 2 female)

- Video: In-vehicle recordings, evaluated on RGB track

- Resolution: 640×640

- Frame rate: 30 fps

- Conditions: Stationery and Driving

- Noise: natural light changes (e.g., tunnels), vibration, motion blur

### Standardization

- They do face detection/cropping, then resize to 128×128 for both datasets

They report HR estimation with MAE/RMSE (bpm) and correlation R.

### UBFC-rPPG with Both Noise (illumination + motion simulated)

- Ours: MAE 2.68, RMSE 3.62, R 0.845

- VS-Net baseline: MAE 3.18, RMSE 4.12, R 0.818

### MR-NIRP Driving (hardest real-world)

- Ours: MAE 3.75, RMSE 7.02, R 0.803

- VS-Net baseline: MAE 4.35, RMSE 8.12, R 0.724

### Trade-off (clean / quasi-clean)

- UBFC Clean: VS-Net better (VS-Net MAE 0.82 vs Ours MAE 1.47)

- MR-NIRP Stationary: VS-Net slightly better (MAE 1.55 vs Ours 1.78)

### Problem target

- Recover the rPPG waveform and derive HR from the PSD peak.

- Physiological band assumed 0.7–4 Hz (≈42–240 bpm).

## Video preprocessing & ROI (explicit)

### Face alignment + masks

- Detect facial landmarks (they mention MTCNN for landmark detection/alignment as a robustness measure).

- Apply a similarity transform to align each frame to a reference template.

- Define:

  - Foreground face ROI Ωf

  - Background ring ROI Ωb (non-skin surrounding area)

### Clip-wise channel normalization

- Applied separately to face and background streams to mitigate exposure/WB drift.

## rPPG extraction approach: Dual-branch foreground–background differencing

They run two parallel branches:

- Face branch → feature Ft

- Background branch → feature Bt
Then, cancel global noise by:
Dt = Ft - κ * Bt
where κ* is computed via ridge regression scale matching.

This is specifically designed to remove:

- global illumination change

- global motion/blur/drift
because those appear in both the face and background, while rPPG exists only in the face.

## Signal amplification module (learned VCM): Learn-based Video Color Magnification (VCM)

They use a “manipulator-only” learning-based magnification:

- Bθ is a learned band-pass (implemented as a 1D conv stack) tuned to 0.7–4 Hz.

- Amplification factor: α = 80 (Table 2).

- VCM is applied to both the face/background with shared weights.

## Spatio-temporal model details

### Backbone: Video Swin Transformer style blocks

They use a spatio-temporal feature extractor (SSFE) with window attention, but add: Temporal Shift Module (TSM) injection

TSM is inserted before attention blocks to smooth short impulsive motion noise by exchanging channel info across adjacent frames without adding parameters.

## Training details:

- Optimizer: Adam

- LR: 1e-4

- Batch size: 4

- Epochs: 80

- Loss:

  - UBFC: MSE loss (waveform reconstruction)

  - MR-NIRP: Negative Pearson correlation loss (robust to amplitude scaling in noisy driving)

They clearly show:

- Under illumination noise, the dual-branch is the main contributor (Table 6).

- Under movement noise, TSM is the main contributor (Table 7).

- Under both noises, you need both (Table 8).

## How you can use this paper in YOUR glucose roadmap

Even though it’s HR-focused, it gives you a defensible engineering argument:

- If your smartphone videos have auto-exposure / white balance drift, their clip-wise normalization + background differencing is directly relevant.

- If you have head motion, their TSM temporal smoothing idea is directly relevant.

- This can be used as your “robust rPPG front-end” before you map rPPG features → glucose.

Title and journal: 12_An Integrated Deep Learning Framework for Real-Time Multi-Parameter Biophysiological Monitoring via Facial Video Analysis (SSRN preprint; not peer-reviewed)

Datasets used :

### A) UTKFace (Age/Gender)

- Size: 23,708 face images

- Labels used: Age + Gender (ethnicity not used)

- Gender split: 52.3% male (12,391) / 47.7% female (11,317)

- Age range: 0–116 years

### B) AffectNet (Emotion)

- Size used: 31,002 images

- Classes (8): anger, contempt, disgust, fear, happy, neutral, sad, surprise

### C) WIDER FACE (Face detection)

- Images: 32,203

- Annotated faces: 393,703

- Used to train YOLOv8 face detector (ROI extraction/stabilization)

### D) Drive Drowsiness Detection CV Project dataset (Roboflow)

- Size: 240 images

- Labels: 11 classes originally; they use only 6 related to drowsiness/eyes/yawn (awake, closed_eye, open_eye, yawn, no_yawn, drowsy)

### E) NTHU-DDD (Evaluation for drowsiness)

- Size: 133,042 images

  - 72,060 drowsy / 60,982 awake

### F) YAWNDD (Evaluation for yawn/drowsiness)

- Size: 348 video samples

### G) Their real-world experiment (Heart rate module)

- Participants: 61 volunteers

- Ground truth: pulse oximeter BPM recorded during video

- Data type: face-visible videos (live/real-world)

## Accuracy/performance they report (by task)

### ✅ Age estimation

- MAE = 1.0124 (their ensemble landmark-based model)
Also tested on MORPH-II:

- MORPH-II test: MAE = 2.0293 on 50,015 images

### ✅ Gender classification

- Accuracy = 98.0% (UTKFace)
Cross-tests:

- MORPH-II: 96.2%

- YAWNDD: 98.56%

### ✅ Emotion recognition

- AffectNet: 80.02% accuracy
Other tests they report:

- FER2013: 94.80%

- CKPLUS: 97.25%

### ✅ Face detection (YOLOv8)

- Reported performance: 95.4 mAP (after training on WIDER FACE)

### ✅ Drowsiness detection (YOLOv8)

- NTHU-DDD: 96.44% accuracy

- YAWNDD: 89.94% accuracy

### ✅ Heart rate estimation (their rPPG module)

- On 61 participants:

  - MAE = 1.30 bpm

  - MSE = 4.31 (so RMSE ≈ 2.08 bpm)

## Technical details worth flagging:

This paper’s HR is not deep learning rPPG — it’s EVM + FFT:

- ROI from YOLOv8 face detection

- Gaussian + Laplacian pyramids

- Eulerian Video Magnification (EVM) with bandpass 0.4–4.0 Hz

- FFT peak search in 0.7–4.0 Hz for BPM

## rPPG / Heart-Rate Module — Extra Implementation Details

### Video acquisition:

- Videos are captured under visible-light RGB cameras

- Designed for real-time operation on consumer hardware

- No IR / NIR illumination

- Assumes relatively frontal face visibility

- No explicit head-motion protocol (subjects likely semi-still)

They do not report:

- Camera model

- Resolution

- Exact frame rate consistency handling

- Auto-exposure / white-balance compensation

ROI Handling:

- Face detected using YOLOv8

- ROI is a single global face crop

- No sub-ROI separation (forehead vs cheeks are NOT independently processed)

- No landmark-based skin masking

- No background subtraction

This is simpler than state-of-the-art rPPG pipelines and weaker than the dual-branch paper you just reviewed.

Signal Processing Details:

### Eulerian Video Magnification (EVM)

- Uses spatial Gaussian smoothing

- Followed by temporal band-pass filtering

- Amplification applied uniformly to the ROI

Frequency bands explicitly stated:

- EVM band-pass: 0.4 – 4.0 Hz

- HR search band (FFT): 0.7 – 4.0 Hz

They do not adapt bands per subject or per condition.

## Temporal Analysis & Windowing:

- HR is estimated over short sliding windows

- FFT applied on each window

- Final BPM is taken as the dominant frequency peak

Missing:

- Exact window length (e.g., 10 s / 20 s)

- Window overlap

- Any temporal smoothing across windows (median / Kalman / EMA)

This means temporal stability is not rigorously handled.

## Learning vs Non-Learning Boundary:

Although the paper markets itself as “deep learning–based”, note carefully:

### Heart-rate estimation is NOT learned

- No CNN / RNN / Transformer for rPPG

- Entire HR pipeline = classical signal processing

- Deep learning is used for:

  - Face detection

  - Age

  - Gender

  - Emotion

  - Drowsiness

This distinction is important in your literature review — examiners notice this.

Evaluation Protocol:

- 61 volunteers

- Comparison against pulse oximeter BPM

- Errors reported as:

  - MAE

  - MSE

Missing / unclear:

- Subject-wise vs session-wise split

- Whether multiple recordings per subject were averaged

- Motion / illumination stress testing

- Bland–Altman analysis (not reported)

System-Level Constraints:

- Designed for real-time deployment

- Modular pipeline (each task independent)

- Intended for continuous monitoring

- Prioritizes low latency over physiological interpretability

This explains why they used EVM + FFT instead of learned rPPG.

| Aspect | Present | Missing |
| --- | --- | --- |
| Face detection | ✅ YOLOv8 | — |
| ROI definition | ⚠️ Single face ROI | Sub-ROI (forehead/cheeks) |
| rPPG method | ✅ EVM + FFT | POS / CHROM / DL |
| Filtering | ✅ Fixed band-pass | Adaptive / attention |
| Temporal modeling | ❌ | RNN / CNN / smoothing |
| Subject-wise eval | ❌ unclear | Explicit protocol |
| Robustness analysis | ❌ | Motion / light stress |

### Title and journal: 13_Sensors 2022, 22, 4890 (Systematic review on diabetes care using PPG/ECG)

### Dataset size:

What it does have is a literature dataset (the papers it includes):

- They initially downloaded 227 articles and then screened/excluded step by step.

- Finally, 78 studies were included in the review.

- Those 78 studies were categorized as: 31 diabetes detection, 41 blood glucose, and 7 complications.

Smartphone camera / video-PPG:

Avram et al.: 53,870 individuals collected PPG via smartphone camera; CNN on raw PPG → Sensitivity 75%, Specificity 65.4%, AUC 0.77, and with extra physiological info, the best result reported was AUC = 0.83.

Zhang et al. (video PPG, 3-level glucose classification): 80 subjects (50 healthy / 30 diabetic); after extracting PPG from video + Gaussian fitting features + ML → Accuracy 81.49% (Specificity 83.2%, Sensitivity 79.6%).

Blood glucose estimation performance examples (PPG-based):

Monte-Moreno: 410 subjects (331/79); Random Forest; reported Clarke Error Grid: 87.7% in A, 10.3% in B (no points in C/D/E → clinically “validated” by Clarke grid).

Habbu et al.: 611 subjects; feature-based model; reported Clarke Error Grid results like 85.2% A / 13.6% B in one setting.

#### Technical details from this review that can help your PhD:

Signal + sensing fundamentals (PPG)

- PPG waveform components: systolic (forward/direct) and diastolic (backward/reflected) components; glucose/vascular changes can affect waveform shape.

- Measurement sites & “analyzable waveform” rates: finger 95%, earlobe 81%, wrist 86% analyzable waveforms.

Common preprocessing/post-processing patterns:

- Derivatives & fiducial point detection: using 1st and 2nd derivatives to detect fiducial points and compute features (crest time, time between peaks, etc.).

- Gaussian modeling of the PPG pulse (especially for video-PPG): fitting two Gaussians to represent forward/backward waves; then extracting time/frequency + Gaussian-curve features for ML.

- Heavy use of HRV-style features (from either ECG directly or PPG peaks as a proxy), plus time/frequency features, cepstral coefficients, etc.

Evaluation metrics you should consider mirroring

- For glucose estimation, the review emphasizes the Clarke Error Grid as a common clinical validation criterion.

- For classification tasks, sensitivity, specificity, and AUC dominate.

Title and journal: 14_ Non-Invasive Glucose Monitoring Using Optical Sensor and Machine Learning Techniques for Diabetes Applications
This paper is NOT:

- facial video–based

- rPPG-based

- smartphone camera–based

It focuses on optical sensing (spectroscopy + PPG-like signals). Therefore, it has no dataset of its own and no inherent accuracy

## Optical & Physiological Signal Insights:

### Glucose–optics interaction (key theoretical justification)

- Glucose affects:

  - Light absorption

  - Scattering

  - Refractive index of blood and interstitial fluid

- These effects are weak, indirect, and confounded by blood volume, temperature, and vascular tone.

This directly supports why glucose-from-face is difficult and needs large datasets + ML.

### Relevant wavelength bands: The review categorizes optical approaches:

| Spectral region | Notes |
| --- | --- |
| Visible (VIS) | High scattering, shallow penetration |
| Near-Infrared (NIR) | Better penetration, common for glucose |
| Mid-Infrared (MIR) | Strong glucose absorption but impractical |

For rPPG (RGB cameras), you are constrained to VIS, which the review explicitly notes as low glucose sensitivity → justifies data-driven learning.

## Signal Processing Techniques Mentioned: Even though not rPPG, the signal-processing logic is transferable. Common preprocessing steps across reviewed optical systems:

- Baseline drift removal

- Motion artifact suppression

- Band-limited filtering

- Signal normalization

These are generic physiological signal steps, consistent with rPPG pipelines.

### Feature extraction categories: The review groups features into:

#### Time-domain features:

- Peak-to-peak amplitude

- Rise time

- Pulse width

#### Frequency-domain features

- Dominant frequency

- Spectral energy ratios

- Harmonic content

#### Morphological features

- Systolic/diastolic peak ratios

- Area under the curve

- Slope-related indices

These align exactly with:

- rPPG pulse morphology

- facial PPG waveform analysis

- What you can extract from forehead + cheek signals

## Machine Learning Techniques Reviewed: The review explicitly lists ML models used in glucose-related optical sensing:

| Model | Usage |
| --- | --- |
| Linear regression | Baseline |
| PLS / PCR | Spectroscopy |
| SVM | Small datasets |
| ANN / MLP | Nonlinear mapping |
| CNN | Raw signal learning |
| Hybrid models | Feature + DL |

Classical regression struggles due to nonlinear, subject-specific effects → motivates deep or hybrid models. This directly supports:

- CNN/LSTM/Transformer use on rPPG

- subject-wise validation necessity

## Calibration & Generalization: The review repeatedly highlights:

- Strong inter-subject variability

- Frequent need for:

  - Subject-specific calibration

  - Recalibration over time

This is a huge point for your PhD: You can argue that your 512-subject dataset allows you to:

- reduce or remove subject-specific calibration

- learn population-level mappings

## Explicit limitations stated by the review: The paper explicitly states:

- Optical glucose sensing is:

  - Highly sensitive to temperature

  - Sensitive to motion

  - Affected by hematocrit and blood pressure

- Many published results suffer from:

  - Small datasets

  - Overfitting

  - Lack of subject-independent validation

These statements protect you in your defense.

Title and journal: 15_A Noninvasive Blood Glucose Monitoring System Based on Smartphone PPG Signal Processing and Machine Learning (IEEE Transactions on Industrial Informatics, 2020)

## Dataset: Subjects

- 80 human subjects

  - 37.5% normal

  - 62.5% hyperglycemic

- Ethics approved (Qilu Hospital of Shandong University)

### Recording protocol

- Device: iPhone 6s Plus

- Signal acquisition: smartphone camera + flash

- Recording duration: 60 seconds

- Sampling rate: 30 Hz

- Body location: left index fingertip

- Environment: quiet lab, 24 ± 2 °C, no strong ambient light

### Ground truth

- Reference glucose: invasive ACCU-CHEK Advantage

- ISO 15197 (2013) compliant

- Measurement performed within < 1 minute of video capture

### Labels (classification, not regression): Blood glucose is divided into 3 discrete classes:

| Group | Glucose range (mmol/L) |
| --- | --- |
| G1 (Normal) | 3.9 – 6.1 |
| G2 (Borderline) | 6.2 – 7.8 |
| G3 (Warning) | 7.9 – 11 |

Video usability screening: Before any signal processing, they reject unusable videos based on chromatic statistics:

Per-frame metrics:

- Ave(R), Ave(G), Ave(B)

- σ(R)

Thresholds (example):

- Ave(R) ≥ 240

- σ(R) ≤ 20

- Ave(G) < 15

- Ave(B) < 75

Thresholds derived from 3000 frames (first 5 s) of 20 subjects under correct operation

PPG signal extraction from smartphone video: Channel selection

- RGB channels extracted

- Red channel chosen (clearest periodicity)

- Green/Blue discarded due to a weak usable signal

### Frame-wise PPG computation: For each frame i:

- Compute pixel intensity range

- Threshold:

- PPG value = sum of pixels with intensity > T

This yields a 1D PPG signal at 30 Hz. This is not CHROM / POS / ICA — it is intensity-threshold aggregation.

Raw PPG preprocessing: Signal inversion

- Smartphone uses reflective mode

- Extracted PPG is inverted

- They explicitly invert the signal to restore physiological polarity

### Filtering

- 6th-order Butterworth low-pass

- Cutoff: 16 Hz

- Purpose: remove ambient light, temperature, and power interference

Baseline drift removal + segmentation: Fitting-Based Sliding Window (FSW) — core contribution (This replaces high-pass filtering.)

Key steps (Algorithm 1):

- Estimate dominant frequency f

- Window length = 0.7 × (1/f)

- Slide window to detect local minima (valleys)

- Fit baseline using cubic spline interpolation

- Automatically correct misdetected valleys

- Subtract baseline

- Segment the signal into single cardiac periods

Critical technical insight: They explicitly avoid HPF to preserve waveform morphology.

Single-period validation:

- After segmentation, invalid pulses may appear (distorted width, overlap)

- They explicitly classify valid vs invalid single periods

- This is done before glucose classification

This step alone improves performance significantly

Feature extraction — Gaussian pulse modeling:

### Pulse normalization

- Each pulse normalized:

  - Amplitude: 0–1

  - Length: 50 samples

### Model: Each pulse is modeled as a sum of two positive Gaussians:

Each Gaussian:

- Peak amplitude: H₁, H₂

- Peak position: n₁, n₂

- Half-width: W₁, W₂

Optimization:

- Least Squares Error

- Fit stops when LSE < 1.5%

### Interpretation

- First Gaussian → forward wave

- Second Gaussian → reflected wave

- Changes linked to blood viscosity and vascular resistance

Final feature set (USED AS INPUT):

- 28 total features

- Includes:

  - Gaussian parameters (H₁, H₂, n₁, n₂, W₁, W₂)

  - Slopes (rise/fall)

  - Time intervals (notch, diastolic peak)

  - Areas under waveform segments

  - Period width

All features used without feature selection.

## Machine learning models:

### Stage 1: Invalid pulse rejection

Models tested:

- Gaussian SVM (GSVM)

- Bagged Trees

- KNN

Best:

- GSVM accuracy: 97.54%

Stage 2: Glucose level classification (3-class)

Training:

- 2930 pulses (from 40 subjects)

- 5-fold cross-validation

- Subject-independent split

Testing:

- 2858 pulses (remaining 40 subjects)

Results (best model: GSVM):

| Metric | Value |
| --- | --- |
| Accuracy | 81.49% |
| Precision | 80.84% |
| Sensitivity | 79.58% |
| Specificity | 83.19% |

What this paper gives you (review-wise)

- Smartphone-only PPG extraction logic

- Baseline-preserving segmentation (FSW)

- Pulse-level quality control

- Morphological feature philosophy

- Subject-independent evaluation

## What problem are the authors really solving? They are not trying to “magically sense glucose optically”. Their real hypothesis is:

Blood glucose changes vascular properties (viscosity, stiffness, wave reflection), and these changes subtly deform the PPG pulse shape.

So, the task becomes: Extract extremely clean, morphology-preserving PPG pulses → quantify their shape → classify glucose state.

This explains every technical choice they make.

## Why do they avoid standard filters? Most PPG papers use:

- high-pass filtering

- band-pass filtering

- detrending with polynomials

The authors explicitly argue:

High-pass filters distort the diastolic wave and inflection points, which are exactly where glucose-related information lives. So instead of filtering the baseline out, they model it explicitly. This is why they introduce FSW (Fitting-based Sliding Window).

Smartphone PPG extraction — what exactly is computed? This is not rPPG, and not CHROM/POS. Acquisition physics:

- Finger covers the camera + flash

- Reflective-mode PPG

- Red channel has the highest SNR due to:

  - deeper penetration

  - stronger absorption contrast

### Frame-level computation: For each frame:

- Get all red-channel pixel intensities

- Compute:

  - Imax

  - Imin

- Threshold:

- Sum pixels above this threshold

Why this works:

- Pulsatile blood causes local intensity modulation

- Thresholding removes background and static tissue

This step already removes a lot of noise before any filtering.

Why is the raw signal inverted? In reflective PPG:

- More blood → less reflected light

- But the extracted signal increases with intensity

So, the physiological polarity is inverted. They explicitly flip the signal, which many papers forget to mention. This matters because:

- pulse shape asymmetry

- slope-based features
depend on correct polarity.

Why do they use ONLY a low-pass filter? They use:

- 6th-order Butterworth

- Low-pass at 16 Hz

They do not use a band-pass filter. Reason:

- They don’t want to remove:

  - low-frequency components related to baseline and diastolic deformation

- 16 Hz is high enough to keep all physiological pulse information

- Removes:

  - power-line noise

  - quantization noise

  - flash flicker

This preserves morphology better than band-pass filtering.

FSW: the heart of the paper. FSW replaces classical detrending.

### Step 1: Estimate dominant heart frequency. They compute the dominant frequency f of the PPG.

### Step 2: Adaptive window length

Window length:

This ensures:

- Exactly one valley per window

- adapts automatically to HR

### Step 3: Valley detection

- Slide window

- Detect local minima (valleys)

- These represent cardiac cycle boundaries

### Step 4: Valley correction. They explicitly fix:

- missed valleys

- duplicated valleys

- noisy false minima

This is rarely done and extremely important.

### Step 5: Baseline fitting

- Use cubic spline interpolation through valleys

- This model’s baseline drift is a smooth curve

### Step 6: Baseline subtraction

- Subtract the spline from the raw signal

- Result: flat, morphology-preserved PPG

This keeps:

- systolic peak

- diastolic peak

- dicrotic notch
intact.

## Why single-pulse validation matters? After segmentation, not all pulses are usable.

They explicitly:

- reject pulses with:

  - abnormal width

  - overlapping cycles

  - shape distortion

This is a quality control classifier before glucose estimation.

Why this matters:

- One bad pulse can destroy feature statistics

- Pulse-level ML is more stable than signal-level ML

Gaussian pulse decomposition — what does it really mean? Each pulse is normalized:

- amplitude → [0,1]

- length → 50 samples

Then modeled as:

Where:

- G₁ = forward (systolic) wave

- G₂ = reflected (diastolic) wave

Each Gaussian encodes:

- amplitude (H)

- timing (n)

- width (W)

Physiological meaning:

- Glucose ↑ → blood viscosity ↑

- Viscosity ↑ → reflection timing and amplitude change

- These changes appear in G₂ parameters

This is the physiology bridge.

## Feature design philosophy: They do not over-engineer features.

They extract:

- timing features

- width features

- amplitude ratios

- area-based features

Why?

- Simpler features generalize better

- Gaussian parameters already encode most morphology

They use 28 features total, with no feature selection.

## Why does GSVM work best here? Gaussian SVM:

- handles nonlinear boundaries

- robust to correlated features

- works well with small–medium datasets

Deep learning would likely:

- overfit

- require much more data

- lose interpretability

This is a deliberate choice, not a limitation.

## Why classification, not regression? They classify glucose into 3 clinically meaningful ranges.

Reasons:

- Reduces noise sensitivity

- Aligns with clinical decision-making

- More robust with limited subjects

This is very defensible in early-stage systems. Your work is a generalization of this pipeline:

| Zhang et al. | Your PhD |
| --- | --- |
| Finger PPG | Facial rPPG |
| Red LED | Ambient RGB |
| 80 subjects | 512 subjects |
| Pulse-level features | Pulse + learned features |
| Classification | Regression + classification |